City of Dover

Community Services

Engineering Division

Pre-Construction Check List

- ________Stamped Plans-Required on Site at all Times

- ________Construction Entrance/Roadway must be kept Swept

- ________Erosion Control-Must Be Maintained at all times

- ________NOI applied For

- ________S.W.P.P.P inspections must be done by a LLS. Or PE

- ________Wetlands Clearly Marked-and 50’ Buffers

- ________Wetland Permit Displayed

- ________Construction Sequence- (Must be Followed)

- ________Water-All Fittings to be North American made,6’ boxes

- -----Water Service Shut offs must not be in paved areas

- _____Hydrants to be Eddy Model F-4621 Factory Plugged

- _____Sewer- Covers North American Made

- _____Sewer Man Holes must have steps

- _____Water/Sewer Services-Must be Inspected,48hr Notification

- _____Drainage-Frames, Grates, Covers North American Made

- _____Under drain

- _____Driveway Culverts-Min 12’ Diameter

- _____Raising Structures-Must be at least to Base Grade

- _____Testing-48hr Notification

- _____Roadway Compaction-Copies Need to be submitted

- _____Roadway Specs.

- _____Street Trees-per approved list

- _____Building Permit Requirements

- _____C.O. Requirements

- _____Notification Requirements Must Have 48hr Notice

- _____Change of Approved Plans-Must be Approved Prior

- _____As-Built Plans- Submitted in PDF and DWG Form

Project_________________Developer/Contractor________________